## SORTER-01
Category | Description | Functional Unit | Location | Device | diag_cabinet | swp_cabinet | diag_bit | Data Type | Direction </> | I/O Offset Byte | I/O Bit | I/O Address Side 1 | I/O Address Side 2 | Signal Name Side 1 | Expression Side 1 | Signal Name Side 2 | Side | Index | Base Node | Base Address | Input Format | Output Format
WATCHDOG | Blinking 1Hz | [6 empty] | BOOL | > | 0 | 0 |  |  | PNC_Q_SORTER-01 HEARTBEAT | "Clock 1Hz" |  | 1 | 01 | 10 | 10000 | I<base+offset>/.<bit>
SAFETY_STATE | Safety Circuit Energized by PLC (READY) | [6 empty] | BOOL | > | 1 | 0 |  |  | PNC_Q_SORTER-01 POWER ENABLED - NOT CUT |  |  | 2 | 01 | 10 | 0
SAFETY_STATE | Awaiting EMERGENCY RESET for the area | [6 empty] | BOOL | > |  |  |  |  | PNC_Q_SORTER-01 EMERGENCY READY TO RESET
SAFETY_STATE | EMERGENCY Circuit Energized by PLC (READY) | [6 empty] | BOOL | > |  |  |  |  | PNC_Q_SORTER-01 EMERGENCY OK |  |  | AREA | DOORS | BREAKERS | ENCODER | Column1 | Column2
SAFETY_ENCODER | [7 empty] | BOOL | > |  |  |  |  | PNC_Q_SORTER-01 SAFETY ENCODER FAILURE
SORTER_STATE | Sorter Running Soft-Feedback | [6 empty] | BOOL | < | 0 | 0 |  |  | PNC_I_SORTER-01 SORTER- RUNNING
SORTER_COMMANDS | Commissioning-Only EMERGENCY_RESET command | [6 empty] | BOOL | < | 1 | 0 |  |  | PNC_I_SORTER-01 EMERGENCY RESET
Z1 | Emergency Status Feedback Area [ =S1+MS1.CC1-Q66501 ] | =S1 | +MS1.CC1 | -Q66501 | 015 |  | 01 | BOOL | > | 10 | 0 |  |  | PNC_Q_SORTER-01_Emergency Status Feedback Area [ =S1+MS1.CC1-Q66501 ] | "Emergency Status Feedback Area [ =S1+MS1.CC1-Q66501 ]"
Z1 | [7 empty] | BOOL | > | 10 | 1
Z1 | [7 empty] | BOOL | > | 10 | 2
Z1 | [7 empty] | BOOL | > | 10 | 3
Z1 | [7 empty] | BOOL | > | 10 | 4
Z1 | [7 empty] | BOOL | > | 10 | 5
Z1 | [7 empty] | BOOL | > | 10 | 6
Z1 | [7 empty] | BOOL | > | 10 | 7
Z1 | [7 empty] | BOOL | > | 11 | 0
Z1 | [7 empty] | BOOL | > | 11 | 1
Z1 | [7 empty] | BOOL | > | 11 | 2
Z1 | [7 empty] | BOOL | > | 11 | 3
Z1 | [7 empty] | BOOL | > | 11 | 4
Z1 | [7 empty] | BOOL | > | 11 | 5
Z1 | [7 empty] | BOOL | > | 11 | 6
Z1 | [7 empty] | BOOL | > | 11 | 7
B1/2 | Safety Breaker [ =S1+MS1.CC1-Q67001 ] | =S1 | +MS1.CC1 | -Q67001 | 012 |  | 00 | BOOL | > | 12 | 0 |  |  | PNC_Q_SORTER-01_Safety Breaker [ =S1+MS1.CC1-Q67001 ] | "01_Pushbutton"."Safety Breaker [ =S1+MS1.CC1-Q67001 ]"
B1/2 | [7 empty] | BOOL | > | 12 | 1
B1/2 | [7 empty] | BOOL | > | 12 | 2
B1/2 | [7 empty] | BOOL | > | 12 | 3
B1/2 | [7 empty] | BOOL | > | 12 | 4
B1/2 | [7 empty] | BOOL | > | 12 | 5
B1/2 | [7 empty] | BOOL | > | 12 | 6
B1/2 | [7 empty] | BOOL | > | 12 | 7
B1/2 | [7 empty] | BOOL | > | 13 | 0
B1/2 | [7 empty] | BOOL | > | 13 | 1
B1/2 | [7 empty] | BOOL | > | 13 | 2
B1/2 | [7 empty] | BOOL | > | 13 | 3
B1/2 | [7 empty] | BOOL | > | 13 | 4
B1/2 | [7 empty] | BOOL | > | 13 | 5
B1/2 | [7 empty] | BOOL | > | 13 | 6
B1/2 | [7 empty] | BOOL | > | 13 | 7
F1/2 | Fire Alarm [ =S1+MS1.CC1-X40001 ] F1/2 | =S1 | +MS1.CC1 | -X40001 | 013 |  | 00 | BOOL | > | 14 | 0 |  |  | PNC_Q_SORTER-01_Fire Alarm [ =S1+MS1.CC1-X40001 ] F1/2 | "Fire Alarm [ =S1+MS1.CC1-X40001 ] F1/2"
F1/2 | [7 empty] | BOOL | > | 14 | 1
F1/2 | [7 empty] | BOOL | > | 14 | 2
F1/2 | [7 empty] | BOOL | > | 14 | 3
F1/2 | [7 empty] | BOOL | > | 14 | 4
F1/2 | [7 empty] | BOOL | > | 14 | 5
F1/2 | [7 empty] | BOOL | > | 14 | 6
F1/2 | [7 empty] | BOOL | > | 14 | 7
F1/2 | [7 empty] | BOOL | > | 15 | 0
F1/2 | [7 empty] | BOOL | > | 15 | 1
F1/2 | [7 empty] | BOOL | > | 15 | 2
F1/2 | [7 empty] | BOOL | > | 15 | 3
F1/2 | [7 empty] | BOOL | > | 15 | 4
F1/2 | [7 empty] | BOOL | > | 15 | 5
F1/2 | [7 empty] | BOOL | > | 15 | 6
F1/2 | [7 empty] | BOOL | > | 15 | 7
N1/2 | Safety Encoder 0001 Sensor 1 [ =S1+PC1.CC1-X81001 ] | =S1 | +PC1.CC1 | -X81001 | 011 |  | 00 | BOOL | > | 16 | 0 |  |  | PNC_Q_SORTER-01_Safety Encoder 0001 Sensor 1 [ =S1+PC1.CC1-X81001 ] | "04_SPEED"."Safety Encoder 0001 Sensor 1 Healthy [ =S1+PC1.CC1-X81001 ]"
N1/2 | [7 empty] | BOOL | > | 16 | 1
N1/2 | [7 empty] | BOOL | > | 16 | 2
N1/2 | [7 empty] | BOOL | > | 16 | 3
N1/2 | [7 empty] | BOOL | > | 16 | 4
N1/2 | [7 empty] | BOOL | > | 16 | 5
N1/2 | [7 empty] | BOOL | > | 16 | 6
N1/2 | [7 empty] | BOOL | > | 16 | 7
N1/2 | [7 empty] | BOOL | > | 17 | 0
N1/2 | [7 empty] | BOOL | > | 17 | 1
N1/2 | [7 empty] | BOOL | > | 17 | 2
N1/2 | [7 empty] | BOOL | > | 17 | 3
N1/2 | [7 empty] | BOOL | > | 17 | 4
N1/2 | [7 empty] | BOOL | > | 17 | 5
N1/2 | [7 empty] | BOOL | > | 17 | 6
N1/2 | [7 empty] | BOOL | > | 17 | 7
N2/2 | Safety Encoder 0001 Sensor 2 [ =S1+PC1.CC1-X81001 ] | =S1 | +PC1.CC1 | -X81001 | 011 |  | 01 | BOOL | > | 18 | 0 |  |  | PNC_Q_SORTER-01_Safety Encoder 0001 Sensor 2 [ =S1+PC1.CC1-X81001 ] | "04_SPEED"."Safety Encoder 0001 Sensor 2 Healthy [ =S1+PC1.CC1-X81001 ]"
N2/2 | [7 empty] | BOOL | > | 18 | 1
N2/2 | [7 empty] | BOOL | > | 18 | 2
N2/2 | [7 empty] | BOOL | > | 18 | 3
N2/2 | [7 empty] | BOOL | > | 18 | 4
N2/2 | [7 empty] | BOOL | > | 18 | 5
N2/2 | [7 empty] | BOOL | > | 18 | 6
N2/2 | [7 empty] | BOOL | > | 18 | 7
N2/2 | [7 empty] | BOOL | > | 19 | 0
N2/2 | [7 empty] | BOOL | > | 19 | 1
N2/2 | [7 empty] | BOOL | > | 19 | 2
N2/2 | [7 empty] | BOOL | > | 19 | 3
N2/2 | [7 empty] | BOOL | > | 19 | 4
N2/2 | [7 empty] | BOOL | > | 19 | 5
N2/2 | [7 empty] | BOOL | > | 19 | 6
N2/2 | [7 empty] | BOOL | > | 19 | 7
DI1/2 | Door Closed Safety Input 1 [ =S1+SG1-B1 ] | =S1 | +SG1 | -B1 | 010 |  | 01 | BOOL | > | 20 | 0 |  |  | PNC_Q_SORTER-01_Door Closed SAFE_STATE [ =S1+SG1-B1 ] | "07_DOOR"."Door Closed SAFE_STATE [ =S1+SG1-B1 ]"
DI1/2 | Door Closed Safety Input 1 [ =S1+SG2-B1 ] | =S1 | +SG2 | -B1 | 010 |  | 03 | BOOL | > | 20 | 1 |  |  | PNC_Q_SORTER-01_Door Closed SAFE_STATE [ =S1+SG2-B1 ] | "07_DOOR"."Door Closed SAFE_STATE [ =S1+SG2-B1 ]"
DI1/2 | Door Closed Safety Input 1 [ =S2+SG3-B1 ] | =S2 | +SG3 | -B1 | 010 |  | 05 | BOOL | > | 20 | 2 |  |  | PNC_Q_SORTER-01_Door Closed SAFE_STATE [ =S2+SG3-B1 ] | "07_DOOR"."Door Closed SAFE_STATE [ =S2+SG3-B1 ]"
DI1/2 | Door Closed Safety Input 1 [ =S2+SG4-B1 ] | =S2 | +SG4 | -B1 | 010 |  | 07 | BOOL | > | 20 | 3 |  |  | PNC_Q_SORTER-01_Door Closed SAFE_STATE [ =S2+SG4-B1 ] | "07_DOOR"."Door Closed SAFE_STATE [ =S2+SG4-B1 ]"
DI1/2 | [7 empty] | BOOL | > | 20 | 4
DI1/2 | [7 empty] | BOOL | > | 20 | 5
DI1/2 | [7 empty] | BOOL | > | 20 | 6
DI1/2 | [7 empty] | BOOL | > | 20 | 7
DI1/2 | [7 empty] | BOOL | > | 21 | 0
DI1/2 | [7 empty] | BOOL | > | 21 | 1
DI1/2 | [7 empty] | BOOL | > | 21 | 2
DI1/2 | [7 empty] | BOOL | > | 21 | 3
DI1/2 | [7 empty] | BOOL | > | 21 | 4
DI1/2 | [7 empty] | BOOL | > | 21 | 5
DI1/2 | [7 empty] | BOOL | > | 21 | 6
DI1/2 | [7 empty] | BOOL | > | 21 | 7
Safety Encoder Failure | Safety Encoder 0001 Healthy [ =S1+PC1.CC1-X81001 ] | =S1 | +PC1.CC1 | -X81001 | 011 |  | 00 | BOOL | > | 22 | 0 |  |  | PNC_Q_Safety Encoder 0001 Healthy [ =S1+PC1.CC1-X81001 ] | "04_SPEED"."Safety Encoder 0001 Healthy [ =S1+PC1.CC1-X81001 ]"
Safety Encoder Failure | [7 empty] | BOOL | > | 22 | 1
Safety Encoder Failure | [7 empty] | BOOL | > | 22 | 2
Safety Encoder Failure | [7 empty] | BOOL | > | 22 | 3
Safety Encoder Failure | [7 empty] | BOOL | > | 22 | 4
Safety Encoder Failure | [7 empty] | BOOL | > | 22 | 5
Safety Encoder Failure | [7 empty] | BOOL | > | 22 | 6
Safety Encoder Failure | [7 empty] | BOOL | > | 22 | 7
Safety Encoder Failure | [7 empty] | BOOL | > | 23 | 0
Safety Encoder Failure | [7 empty] | BOOL | > | 23 | 1
Safety Encoder Failure | [7 empty] | BOOL | > | 23 | 2
Safety Encoder Failure | [7 empty] | BOOL | > | 23 | 3
Safety Encoder Failure | [7 empty] | BOOL | > | 23 | 4
Safety Encoder Failure | [7 empty] | BOOL | > | 23 | 5
Safety Encoder Failure | [7 empty] | BOOL | > | 23 | 6
Safety Encoder Failure | [7 empty] | BOOL | > | 23 | 7
Safety Door Alarm - Not Properly Closed | Door Alarm [ =S1+SG1-B1 ] | =S1 | +SG1 | -B1 | 010 |  | 01 | BOOL | > | 24 | 0 |  |  | PNC_Q_Door Alarm [ =S1+SG1-B1 ] | "07_DOOR"."Door Alarm [ =S1+SG1-B1 ]"
Safety Door Alarm - Not Properly Closed | Door Alarm [ =S1+SG2-B1 ] | =S1 | +SG2 | -B1 | 010 |  | 03 | BOOL | > | 24 | 1 |  |  | PNC_Q_Door Alarm [ =S1+SG2-B1 ] | "07_DOOR"."Door Alarm [ =S1+SG2-B1 ]"
Safety Door Alarm - Not Properly Closed | Door Alarm [ =S2+SG3-B1 ] | =S2 | +SG3 | -B1 | 010 |  | 05 | BOOL | > | 24 | 2 |  |  | PNC_Q_Door Alarm [ =S2+SG3-B1 ] | "07_DOOR"."Door Alarm [ =S2+SG3-B1 ]"
Safety Door Alarm - Not Properly Closed | Door Alarm [ =S2+SG4-B1 ] | =S2 | +SG4 | -B1 | 010 |  | 07 | BOOL | > | 24 | 3 |  |  | PNC_Q_Door Alarm [ =S2+SG4-B1 ] | "07_DOOR"."Door Alarm [ =S2+SG4-B1 ]"
Safety Door Alarm - Not Properly Closed | [7 empty] | BOOL | > | 24 | 4
Safety Door Alarm - Not Properly Closed | [7 empty] | BOOL | > | 24 | 5
Safety Door Alarm - Not Properly Closed | [7 empty] | BOOL | > | 24 | 6
Safety Door Alarm - Not Properly Closed | [7 empty] | BOOL | > | 24 | 7
Safety Door Alarm - Not Properly Closed | [7 empty] | BOOL | > | 25 | 0
Safety Door Alarm - Not Properly Closed | [7 empty] | BOOL | > | 25 | 1
Safety Door Alarm - Not Properly Closed | [7 empty] | BOOL | > | 25 | 2
Safety Door Alarm - Not Properly Closed | [7 empty] | BOOL | > | 25 | 3
Safety Door Alarm - Not Properly Closed | [7 empty] | BOOL | > | 25 | 4
Safety Door Alarm - Not Properly Closed | [7 empty] | BOOL | > | 25 | 5
Safety Door Alarm - Not Properly Closed | [7 empty] | BOOL | > | 25 | 6
Safety Door Alarm - Not Properly Closed | [7 empty] | BOOL | > | 25 | 7
IF_DOOR_CMD | Open Door Request [ =S1+SG1-B1 ] | =S1 | +SG1 | -B1 | 010 |  | 01 | BOOL | < | 10 | 0 |  |  | PNC_I_Open Door Request [ =S1+SG1-B1 ] | Open Door Request [ =S1+SG1-B1 ]
IF_DOOR_CMD | Open Door Request [ =S1+SG2-B1 ] | =S1 | +SG2 | -B1 | 010 |  | 03 | BOOL | < | 10 | 1 |  |  | PNC_I_Open Door Request [ =S1+SG2-B1 ] | Open Door Request [ =S1+SG2-B1 ]
IF_DOOR_CMD | Open Door Request [ =S2+SG3-B1 ] | =S2 | +SG3 | -B1 | 010 |  | 05 | BOOL | < | 10 | 2 |  |  | PNC_I_Open Door Request [ =S2+SG3-B1 ] | Open Door Request [ =S2+SG3-B1 ]
IF_DOOR_CMD | Open Door Request [ =S2+SG4-B1 ] | =S2 | +SG4 | -B1 | 010 |  | 07 | BOOL | < | 10 | 3 |  |  | PNC_I_Open Door Request [ =S2+SG4-B1 ] | Open Door Request [ =S2+SG4-B1 ]
IF_DOOR_CMD | [7 empty] | BOOL | < | 10 | 4
IF_DOOR_CMD | [7 empty] | BOOL | < | 10 | 5
IF_DOOR_CMD | [7 empty] | BOOL | < | 10 | 6
IF_DOOR_CMD | [7 empty] | BOOL | < | 10 | 7
IF_DOOR_CMD | [7 empty] | BOOL | < | 11 | 0
IF_DOOR_CMD | [7 empty] | BOOL | < | 11 | 1
IF_DOOR_CMD | [7 empty] | BOOL | < | 11 | 2
IF_DOOR_CMD | [7 empty] | BOOL | < | 11 | 3
IF_DOOR_CMD | [7 empty] | BOOL | < | 11 | 4
IF_DOOR_CMD | [7 empty] | BOOL | < | 11 | 5
IF_DOOR_CMD | [7 empty] | BOOL | < | 11 | 6
IF_DOOR_CMD | [7 empty] | BOOL | < | 11 | 7